# Automated Pneumonia Detection from Chest X-Ray Images

## 1. Introduction

This report presents the results of an automated pneumonia detection system developed using deep learning techniques on chest X-ray images. The objective is to classify X-rays as Normal or Pneumonia and compare the performance of different CNN architectures with explainability using Grad-CAM.

## 2. Dataset Description

Dataset used: Kaggle Chest X-Ray Pneumonia Dataset
Total images: 5,856 pediatric chest X-rays

Dataset split:
- Training samples: 5216 (Normal: 1341, Pneumonia: 3875)
- Validation samples: 16 (Normal: 8, Pneumonia: 8)
- Test samples: 624 (Normal: 234, Pneumonia: 390)

## 3. Model Performance Comparison

| Model | Accuracy | ROC-AUC | Sensitivity | Specificity |
| --- | --- | --- | --- | --- |
| DenseNet121 | 0.883 | 0.953 | 0.905 | 0.846 |
| ResNet50 | 0.780 | 0.841 | 0.841 | 0.679 |

## 4. Detailed Evaluation Metrics (DenseNet121)

Confusion Matrix:
[[198, 36],
 [37, 353]]

Classification Report:
Normal: Precision 0.84 | Recall 0.85 | F1-score 0.84
Pneumonia: Precision 0.91 | Recall 0.91 | F1-score 0.91

Overall Accuracy: 0.88
ROC-AUC: 0.953

## 5. Visual Results

Grad-CAM Visualization Comparison

ROC Curve Comparison

CNN Architecture Performance Comparison

## 6. Discussion

DenseNet121 outperformed ResNet50 across all evaluation metrics, particularly in ROC-AUC and sensitivity, which are critical for medical diagnosis. Grad-CAM visualizations indicate that DenseNet focuses on compact and relevant lung regions, while ResNet shows broader but less precise activations.

## 7. Conclusion

The study demonstrates that transfer learning with DenseNet121 provides a robust and explainable solution for pneumonia detection from chest X-rays. Future work may involve fine-tuning deeper layers, incorporating uncertainty estimation, and validating on larger clinical datasets.